## Substation SE Figures
Global constants:
Operating hours per annum | 8000
Workday man-hours | 8
SECTION 1.1: Asset Analysis
System Description | Asset general information and requirements |  |  |  | Repair specifications |  |  | Repair costs/year per substation |  |  |  | Service specifications |  |  | Service costs/year per substation |  |  |  | MTCE hours and costs/year |  | Miscellaneous Costs | [11 empty] | Total Costs
| Capability Index | Unit Manufacturing Cost | Assets required per substation | Man-hour rates/hour (repair + service) | MTBF | MTTR | No. of Men/ repair | Avg. Repairs/year | Man-hrs/repair | Avg. Repair hours per year | Avg. Repair cost/year | MTBS | MTTS | No. of Men/ service | Avg. Services/year | Man-hrs/service | Avg. Service hrs/year | Avg. Service cost/year | Avg. MTCE hrs/year | Avg. MTCE cost/year | Misc. Cost Description | Required for Substation: |  |  |  |  | Count | CAPEX/item | OPEX/item | Misc. CAPEX | Misc. OPEX | Replacement Cost Notes | Net CAPEX | Net OPEX | Net LCC
[8 empty] | (per substation) | [6 empty] | (per substation) |  |  |  | (per substation) | [10 empty] | (for 5 substations over 40 yrs) |  |  | (for 5 substations over 40 yrs)
| CI | £ |  | £/hour | operating hours | hours |  |  | man-hours | man-hours/year | £/year | hours | days |  |  | man-hrs | man-hrs/year | £/year | man-hrs/year | £/year |  | 1 | 2 | 3 | 4 | 5 |  |  |  | £ |  | (additional costs required to extend lifetime to 42 years) | £
Rectifier Transformer A | 105 | 300000 | 3 | 75 | 22000 | 3 | 2 | 0.36364 | 18 | 6.5455 | 490.9091 | 10000 | 3 | 2 | 0.8 | 144 | 115.2 | 8640 | 121.7455 | 9130.9091 | Environmental Improvements for harsh environment | ✓ |  |  | ✓ |  | 2 | 250000 | 5000 | 500000 | 400000 | Additional £10k required for 2 additional years of OPEX to reach 42 years | 5000000 | 2226181.8182 | 7226181.8182
Rectifier Transformer B | 140 | 400000 |  |  | 32000 | 2 | 2 | 0.25 | 12 | 3 | 225 | 25000 | 2 | 2 | 0.32 | 96 | 30.72 | 2304 | 33.72 | 2529 | Crane capacity upgrade required | ✓ |  | ✓ |  | ✓ | 3 | 400000 |  | 1200000 |  |  | 7200000 | 505800 | 7705800
HV Switchboard A | 108 | 375000 | 1 | 75 | 25000 | 3 | 2 | 0.32 | 6 | 1.92 | 144 | 17000 | 3 | 2 | 0.47059 | 48 | 22.5882 | 1694.1176 | 24.5082 | 1838.1176 | Isolating bottle replacement for circuit breaker. 3x bottles/breaker, 8x breakers/substation. Lifetimes: Type A=10yrs, B=15yrs | ✓ | ✓ | ✓ | ✓ | ✓ | 120 |  | 3000 |  | 1080000 | 40 years accounted for. Requires additional £360k to extend from 40->50 years (minimum extension) | 1875000 | 1447623.5294 | 3322623.5294
HV Switchboard B | 140 | 475000 |  |  | 30000 | 3.5 | 2 | 0.26667 | 7 | 1.8667 | 140 | 20000 | 3.5 | 2 | 0.4 | 56 | 22.4 | 1680 | 24.2667 | 1820 |  | ✓ | ✓ | ✓ | ✓ | ✓ | 120 |  | 8000 |  | 1920000 | Due to 15yr lifetime, 45 yrs must be allocated to meet 40 yr requirement. Thus operational for more than 42 years. | 2375000 | 2284000 | 4659000
DC Switchboard A | 120 | 390000 | 1 | 75 | 5000 | 2 | 1 | 1.6 | 2 | 3.2 | 240 | 16000 | 2 | 3 | 0.5 | 48 | 24 | 1800 | 27.2 | 2040 | Limited by no. of overload trips. Expected 50 overload trips/yr. 4x/substation. Type: A=150trips, B=200 trips | ✓ | ✓ | ✓ | ✓ | ✓ | 20 |  | 2500 |  | 650000 | Due to 3-year lifetime, 42 years are allocated by default to meet 40 year lifecycle requirement. | 1950000 | 1058000 | 3008000
DC Switchboard B | 130 | 450000 |  |  | 8000 | 1.5 | 1 | 1 | 1.5 | 1.5 | 112.5 | 20000 | 1.5 | 4 | 0.4 | 48 | 19.2 | 1440 | 20.7 | 1552.5 |  | ✓ | ✓ | ✓ | ✓ | ✓ | 20 |  | 2500 |  | 450000 | 40 years allocated by default. Requires £50k in OPEX to extend to 44 years. | 2250000 | 760500 | 3010500
Auxiliary Transformer A | 110 | 75000 | 2 | 75 | 60000 | 1 | 1 | 0.13333 | 2 | 0.26667 | 20 | 10000 | 1 | 2 | 0.8 | 32 | 25.6 | 1920 | 25.8667 | 1940 | *paired with rectifier setup. one upgrade serves | [11 empty] | 750000 | 388000 | 1138000
Auxiliary Transformer B | 160 | 100000 |  |  | 80000 | 0.5 | 1 | 0.1 | 1 | 0.1 | 7.5 | 30000 | 0.5 | 2 | 0.26667 | 16 | 4.2667 | 320 | 4.3667 | 327.5 | *entire substation (both rectifier, auxiliary systems) | [11 empty] | 1000000 | 65500 | 1065500
Protection System A | 175 | 120000 | 1 | 100 | 50000 | 3 | 2 | 0.16 | 6 | 0.96 | 96 | 25000 | 3 | 2 | 0.32 | 48 | 15.36 | 1536 | 16.32 | 1632 | [12 empty] | 600000 | 326400 | 926400
Protection System B | 225 | 270000 |  |  | 120000 | 3 | 2 | 0.066667 | 6 | 0.4 | 40 | 30000 | 2 | 2 | 0.26667 | 32 | 8.5333 | 853.3333 | 8.9333 | 893.3333 | [12 empty] | 1350000 | 178666.6667 | 1528666.6667
Net Allocated Budget | 750 |  |  |  | 4600 | [13 empty] | 485 | [13 empty] | 13500000 | 5000000 | 18500000
*total MTCE hrs/op hrs goal of 0.0606 ignored as it is same result as achieving 485 MTCE hrs/yr (via 485/8000 = 0.0606)
SECTION 1.3: Shortlist Analysis
Permutation | Capability Index | Costs and Hours Comparison | [6 empty] | Budget Consumption |  | Replacement Delay Costs**
|  | Avg. MTBF | Avg. MTCE hrs/year (all substations) | Net MTCE hours | Net MTCE cost | Net CAPEX* | Net OPEX | Net LCC | LCC Budget: £18.5m |  | Add. MTCE cost** | Add. Misc. cost** |  | Remaining Budget after delay period
|  |  |  | (for 5 substations over 40 years) | [6 empty] | (to ensure operation reaches 42 years)
| CI | operating hours | operating hrs/year | operating hrs/year | £ | £ | £ | £ | % used | remainder (£) | £ |  |  | £
BAABB | 753 | 3423.6805 | 493.6412 | 19745.6471 | 1525590.1961 | 13400000 | 3255590.1961 | 16630590.1961 | 89.9% | 1869409.8039 | 76279.5098 | 360000 |  | 1433130.2941
BABBB | 763 | 4606.5259 | 461.1412 | 18445.6471 | 1428090.1961 | 13700000 | 2958090.1961 | 16633090.1961 | 89.91% | 1866909.8039 | 71404.5098 | 410000 |  | 1385505.2941
BBBBA | 745 | 4502.8143 | 496.8667 | 19874.6667 | 1572200 | 13450000 | 3942200 | 17367200 | 93.88% | 1132800 | 78610 | 50000 |  | 1004190
BBBBB | 795 | 4752.4752 | 459.9333 | 18397.3333 | 1424466.6667 | 14200000 | 3794466.6667 | 17969466.6667 | 97.13% | 530533.3333 | 71223.3333 | 50000 |  | 409310
Allocated Budget | 750 | 4600 | 485 |  |  | 13500000 | 5000000 | 18500000
[5 empty] | *£25k added to CAPEX, accounting for commissioning engineer rated at £5k per substation | [5 empty] | *calculated to consider whether such costs fit in remaining budget

## Permutations Analysis
Capability Index (Budget: 750) | Asset Type |  | Value | Permissible Permutations
|  |  |  | AAAAA | AAAAB | AABAA | AABAB | ABAAA | ABAAB | ABBAA | ABBAB | BAABA | BAABB | BABBA | BABBB | BBABA | BBABB | BBBBA | BBBBB
| RTx | A | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
|  | B | 140 | [8 empty] | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140
| HV switch | A | 108 | 108 | 108 | 108 | 108 |  |  |  |  | 108 | 108 | 108 | 108
|  | B | 140 |  |  |  |  | 140 | 140 | 140 | 140 |  |  |  |  | 140 | 140 | 140 | 140
| DC switch | A | 120 | 120 | 120 |  |  | 120 | 120 |  |  | 120 | 120 |  |  | 120 | 120
|  | B | 130 |  |  | 130 | 130 |  |  | 130 | 130 |  |  | 130 | 130 |  |  | 130 | 130
| ATx | A | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110
|  | B | 160 | [8 empty] | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
| Prot. Sys. | A | 175 | 175 |  | 175 |  | 175 |  | 175 |  | 175 |  | 175 |  | 175 |  | 175
|  | B | 225 |  | 225 |  | 225 |  | 225 |  | 225 |  | 225 |  | 225 |  | 225 |  | 225
Cumulative CI (Highlight ≥ 745) |  |  |  | 618 | 668 | 628 | 678 | 650 | 700 | 660 | 710 | 703 | 753 | 713 | 763 | 735 | 785 | 745 | 795
CAPEX (£) (Budget: £13.5m) | RTx | A | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000 | 5000000
|  | B | 7200000 | [8 empty] | 7200000 | 7200000 | 7200000 | 7200000 | 7200000 | 7200000 | 7200000 | 7200000
| HV switch | A | 1875000 | 1875000 | 1875000 | 1875000 | 1875000 |  |  |  |  | 1875000 | 1875000 | 1875000 | 1875000
|  | B | 2375000 |  |  |  |  | 2375000 | 2375000 | 2375000 | 2375000 |  |  |  |  | 2375000 | 2375000 | 2375000 | 2375000
| DC switch | A | 1950000 | 1950000 | 1950000 |  |  | 1950000 | 1950000 |  |  | 1950000 | 1950000 |  |  | 1950000 | 1950000
|  | B | 2250000 |  |  | 2250000 | 2250000 |  |  | 2250000 | 2250000 |  |  | 2250000 | 2250000 |  |  | 2250000 | 2250000
| ATx | A | 750000 | 750000 | 750000 | 750000 | 750000 | 750000 | 750000 | 750000 | 750000
|  | B | 1000000 | [8 empty] | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000
| Prot. Sys. | A | 600000 | 600000 |  | 600000 |  | 600000 |  | 600000 |  | 600000 |  | 600000 |  | 600000 |  | 600000
|  | B | 1350000 |  | 1350000 |  | 1350000 |  | 1350000 |  | 1350000 |  | 1350000 |  | 1350000 |  | 1350000 |  | 1350000
Cumulative CAPEX (Highlight ≤ £13.75m) |  |  |  | 10175000 | 10925000 | 10475000 | 11225000 | 10675000 | 11425000 | 10975000 | 11725000 | 12625000 | 13375000 | 12925000 | 13675000 | 13125000 | 13875000 | 13425000 | 14175000
OPEX (£) (Budget: £5.0m) | RTx | A | 2226181.8182 | 2226181.8182 | 2226181.8182 | 2226181.8182 | 2226181.8182 | 2226181.8182 | 2226181.8182 | 2226181.8182 | 2226181.8182
|  | B | 505800 | [8 empty] | 505800 | 505800 | 505800 | 505800 | 505800 | 505800 | 505800 | 505800
| HV switch | A | 1447623.5294 | 1447623.5294 | 1447623.5294 | 1447623.5294 | 1447623.5294 |  |  |  |  | 1447623.5294 | 1447623.5294 | 1447623.5294 | 1447623.5294
|  | B | 2284000 |  |  |  |  | 2284000 | 2284000 | 2284000 | 2284000 |  |  |  |  | 2284000 | 2284000 | 2284000 | 2284000
| DC switch | A | 1058000 | 1058000 | 1058000 |  |  | 1058000 | 1058000 |  |  | 1058000 | 1058000 |  |  | 1058000 | 1058000
|  | B | 760500 |  |  | 760500 | 760500 |  |  | 760500 | 760500 |  |  | 760500 | 760500 |  |  | 760500 | 760500
| ATx | A | 388000 | 388000 | 388000 | 388000 | 388000 | 388000 | 388000 | 388000 | 388000
|  | B | 65500 | [8 empty] | 65500 | 65500 | 65500 | 65500 | 65500 | 65500 | 65500 | 65500
| Prot. Sys. | A | 326400 | 326400 |  | 326400 |  | 326400 |  | 326400 |  | 326400 |  | 326400 |  | 326400 |  | 326400
|  | B | 178666.6667 |  | 178666.6667 |  | 178666.6667 |  | 178666.6667 |  | 178666.6667 |  | 178666.6667 |  | 178666.6667 |  | 178666.6667 |  | 178666.6667
Cumulative OPEX (Highlight ≤ £5.25m) |  |  |  | 5446205.3476 | 5298472.0143 | 5148705.3476 | 5000972.0143 | 6282581.8182 | 6134848.4848 | 5985081.8182 | 5837348.4848 | 3403323.5294 | 3255590.1961 | 3105823.5294 | 2958090.1961 | 4239700 | 4091966.6667 | 3942200 | 3794466.6667
Net LCC per permutation (£) (Budget: £18.5m) |  |  |  | 15621205.3476 | 16223472.0143 | 15623705.3476 | 16225972.0143 | 16957581.8182 | 17559848.4848 | 16960081.8182 | 17562348.4848 | 16028323.5294 | 16630590.1961 | 16030823.5294 | 16633090.1961 | 17364700 | 17966966.6667 | 17367200 | 17969466.6667